## M-Part 1
Michigan Department of Environmental Quality Analytical Testing Report
Report Date: | 2024-11-15 10:09
Client: | EGLE-RRD-LANSING
Attention: | Mike Jury
Project Name: | MPART-CADILLAC INDUSTRIAL PARK
[5 empty] | Address 1 | Address 2 | Address 3 | Address 4 | Address 5 | Address 6 | Address 7 | Address 8 | Address 9 | Address 10 | Address 11 | Address 12 | Address 13
Sample Number |  |  | Michigan Safe Drinking Water Act MCL[1] and Groundwater Cleanup Std | National Primary Drinking Water Regulation MCL[2] | 2410342-02 | 2410342-03 | 2410342-04 | 2410342-05 | 2410342-06 | 2410342-07 | 2410342-08 | 2410342-09 | 2410342-10 | 2410342-11 | 2410342-12 | 2410342-13 | 2410342-14
Sample ID |  |  |  |  | WT2410301004GSC | WT2410301115GSC | WT2410301145GSC | WT2410301210GSC | WT2410301240GSC | WT2410301310GSC | WT2410301335GSC | WT2410301525GSC | WT2410301635GSC | WT2410301645GSC | WT2410301700GSC | WT2410301715GSC | WT2410301730GSC
Sample Depth
Date Collected |  |  |  |  | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30
Date Received |  |  |  |  | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31
Analyte | Units | Method
11Cl-PF3OUdS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
4:2FTS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
6:2FTS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
8:2FTS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
9Cl-PF3ONS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
ADONA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
HFPO-DA | ppt | 533 | 370 | 10 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
NFDHA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFBA | ppt | 533 | NA | NA | 5 | 3 | 2 | <2 | <2 | 4 | 2 | <2 | <2 | 3 | <2 | 2 | 4
PFBS | ppt | 533 | 420 | NA | 11 | 2 | 6 | <2 | <2 | 2 | 7 | 2 | <2 | 2 | <2 | 9 | 6
PFDA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFDoA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFEESA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHpA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | 3 | <2 | <2 | <2 | <2 | <2 | <2 | 3
PFHpS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHxA | ppt | 533 | 400000 | NA | <2 | 2 | 3 | 4 | <2 | 5 | <2 | <2 | <2 | <2 | <2 | 4 | 6
PFHxS | ppt | 533 | 51 | 10 | 4 | 3 | 2 | <2 | <2 | 2 | 2 | <2 | <2 | 2 | <2 | 3 | 17
PFMBA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFMPA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFNA | ppt | 533 | 6 | 10 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFOA | ppt | 533 | 8 | 4 | 4 | 5 | 4 | 6 | <2 | 12 | 2 | 2 | <2 | 2 | 3 | 7 | 13
PFOS | ppt | 533 | 16 | 4 | <2 | 3 | <2 | 6 | <2 | <2 | <2 | <2 | <2 | 2 | <2 | <2 | <2
PFPeA | ppt | 533 | NA | NA | <2 | <2 | 3 | 4 | <2 | 3 | <2 | <2 | <2 | <2 | <2 | 3 | 2
PFPeS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFUnA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
Grey indicates contaminant was detected.
Yellow indicates contaminant exceeds Michigan Drinking Water Criteria
“NA” means a criterion or value is not available or, in the case of background, not applicable.
Note that sample number 2410342-01 is a field blank
[1] | Maximum Contaminant Level (MCL) is the maximum amount of a contaminant allowed in drinking water. Applies only to public drinking water supplies covered under the Michigan Safe Drinking Water Act. Private residential wells are not regulated under the Michigan Safe Drinking Water Act, but Michigan uses the MCLs along with other factors when evaluating private residential well results.
[2] | Compliance with MCLs is determined by running annual averages at the sampling point.

## M-Part 2
Michigan Department of Environmental Quality Analytical Testing Report
Report Date: | 2024-12-05 12:48
Client: | EGLE-RRD-LANSING
Attention: | Mike Jury
Project Name: | MPART-CADILLAC INDUSTRIAL PARK
[5 empty] | Address 1 | Address 2 | Address 3 | Address 4 | Address 5 | Address 6 | Address 7 | Address 8 | Address 9 | Address 10 | Address 11 | Address 12 | Address 13 | Address 14 | Address 15 | Address 16 | Address 17 | Address 18 | Address 19 | Address 20
Sample Number |  |  | Michigan Safe Drinking Water Act MCL[1] and Groundwater Cleanup Std | National Primary Drinking Water Regulation MCL[2] | 2411220-02 | 2411220-03 | 2411220-04 | 2411220-05 | 2411220-06 | 2411220-07 | 2411220-08 | 2411220-09 | 2411220-10 | 2411220-11 | 2411220-12 | 2411220-13 | 2411220-14 | 2411220-15 | 2411220-16 | 2411220-17 | 2411220-18 | 2411220-19 | 2411220-20 | 2411219-02
Sample ID |  |  |  |  | WT202411201000TLM | WT202411201010TLM | WT202411201020TLM | WT202411201025TLM | WT202411201030TLM | WT202411201035TLM | WT202411201055TLM | WT202411201100TLM | WT202411201125TLM | WT202411201135TLM | WR202411201225TLM | WR202411201240TLM | WT202411201250TLM | WR202411201255TLM | WT202411201310TLM | WT202411201325TLM | WT202411201410TLM | WT202411201425TLM | WT202411201435TLM | WS202411201510TLM
Sample Depth
Date Collected |  |  |  |  | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20
Date Received |  |  |  |  | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22
Analyte | Units | Method
11Cl-PF3OUdS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
4:2FTS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
6:2FTS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
8:2FTS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
9Cl-PF3ONS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
ADONA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
HFPO-DA | ppt | 533 | 370 | 10 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
NFDHA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFBA | ppt | 533 | NA | NA | 4 | 2 | 2 | 4 | <2 | 2 | <2 | 4 | <2 | <2 | 3 | 7 | 2 | 5 | 4 | 4 | 2 | 6 | 2 | 2
PFBS | ppt | 533 | 420 | NA | 4 | 3 | <2 | 30 | 2 | 2 | <2 | 3 | <2 | 10 | <2 | 6 | 7 | 8 | 2 | 8 | 3 | 17 | <2 | 2
PFDA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFDoA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFEESA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHpA | ppt | 533 | NA | NA | 2 | <2 | 2 | 4 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | <2 | <2 | <2 | <2 | 2 | <2 | <2 | <2
PFHpS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHxA | ppt | 533 | 400000 | NA | 3 | <2 | 3 | 16 | 2 | <2 | <2 | <2 | <2 | <2 | <2 | 5 | <2 | 2 | <2 | 2 | 4 | 6 | 2 | <2
PFHxS | ppt | 533 | 51 | 10 | 6 | 3 | 3 | 190 | <2 | 2 | <2 | <2 | <2 | <2 | <2 | 17 | 4 | 2 | <2 | 3 | 2 | 3 | 2 | 2
PFMBA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFMPA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFNA | ppt | 533 | 6 | 10 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFOA | ppt | 533 | 8 | 4 | 16 | 2 | 6 | 6 | 5 | <2 | <2 | 3 | <2 | 3 | 4 | 8 | 3 | 4 | 5 | 4 | 4 | 6 | 3 | 4
PFOS | ppt | 533 | 16 | 4 | 11 | <2 | <2 | 2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 13 | <2 | 6 | 2 | 2 | <2 | 2 | <2 | 2
PFPeA | ppt | 533 | NA | NA | 4 | <2 | 2 | 5 | 2 | <2 | <2 | <2 | <2 | <2 | 3 | 4 | <2 | 3 | <2 | 2 | 3 | 4 | 2 | <2
PFPeS | ppt | 533 | NA | NA | <2 | <2 | <2 | 49 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFUnA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
Grey indicates contaminant was detected.
Yellow indicates contaminant exceeds Michigan Drinking Water Criteria.
“NA” means a criterion or value is not available
Note that samples 2411220-01 and 2411219-01 are field blanks
Same 2411219-02 has a different sample number because a maximum of 20 samples fit on one work order
[1] | Maximum Contaminant Level (MCL) is the maximum amount of a contaminant allowed in drinking water. Applies only to public drinking water supplies covered under the Michigan Safe Drinking Water Act. Private residential wells are not regulated under the Michigan Safe Drinking Water Act, but Michigan uses the MCLs along with other factors when evaluating private residential well results.
[2] | Compliance with MCLs is determined by running annual averages at the sampling point.

## M-Part 3
Michigan Department of Environmental Quality Analytical Testing Report
Report Date: | 2025-01-14 14:22
Client: | EGLE-RRD-LANSING
Attention: | Mike Jury
Project Name: | MPART-CADILLAC INDUSTRIAL PARK
[5 empty] | Address 1 | Address 2 | Address 3 | Address 4 | Address 5 | Address 6 | Address 7 | Address 8 | Address 9 | Address 10 | Address 11 | Address 12 | Address 13 | Address 14 | Address 15 | Address 16 | Address 17 | Address 18 | Address 19 | Address 20 | Address 21 | Address 22 | Address 23 | Address 24
Sample Number |  |  | Michigan Safe Drinking Water Act MCL[1] and Groundwater Cleanup Std | National Primary Drinking Water Regulation MCL[2] | 2412230-02 | 2412230-03 | 2412230-04 | 2412230-05 | 2412230-06 | 2412230-07 | 2412230-08 | 2412230-09 | 2412230-10 | 2412230-11 | 2412230-12 | 2412230-13 | 2412230-14 | 2412230-15 | 2412230-16 | 2412230-17 | 2412230-18 | 2412230-19 | 2412231-02 | 2412231-03 | 2412231-04 | 2412231-05 | 2412231-06 | 2412231-07
Sample ID |  |  |  |  | WT2412180930TLM | WR2412180955TLM | WT2412181000TLM | WT2412181015TLM | WT2412181030TLM | WT2412181040TLM | WT2412181100TLM | WR2412181110TLM | WT2412181120TLM | WT2412181130TLM | WT2412181140TLM | WT2412181135TLM | WR2412181300TLM | WT2412181315TLM | WR2412181410TLM | WR2412181440TLM | WR2412181520TLM | WT2412181540TLM | WR2412190945TLM | WR2412191030TLM | WT2412191045TLM | WT2412191105TLM | WT2412191130TLM | WR2412191255TLM
Sample Depth
Date Collected |  |  |  |  | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-19 | 2024-12-19 | 2024-12-19 | 2024-12-19 | 2024-12-19 | 2024-12-19
Date Received |  |  |  |  | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20
Analyte | Units | Method
11Cl-PF3OUdS | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
4:2FTS | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
6:2FTS | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
8:2FTS | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
9Cl-PF3ONS | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
ADONA | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
HFPO-DA | ng/L | 533 | 370 | 10 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
NFDHA | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFBA | ng/L | 533 | NA | NA | <2 | <2 | <2 | 2 | 3 | 5 | 4 | 5 | 7 | 5 | 6 | 2 | 2 | <2 | <2 | <2 | <2 | <2 | 4 | 4 | 4 | 3 | <2 | <2
PFBS | ng/L | 533 | 420 | NA | <2 | 2 | 4 | <2 | 5 | 8 | 20 | 7 | 45 | 15 | 13 | <2 | 2 | <2 | <2 | <2 | <2 | 31 | 15 | 4 | 5 | 4 | <2 | <2
PFDA | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFDoA | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFEESA | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHpA | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | 3 | 2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | 3 | 2 | 2 | <2 | <2
PFHpS | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHxA | ng/L | 533 | 400000 | NA | <2 | 2 | <2 | <2 | 4 | <2 | <2 | 3 | 5 | 6 | 5 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | 3 | 2 | 2 | <2 | <2
PFHxS | ng/L | 533 | 51 | 10 | <2 | 3 | 2 | 2 | 3 | 3 | <2 | 5 | 16 | 12 | 3 | <2 | 2 | <2 | <2 | <2 | <2 | <2 | 2 | 3 | 2 | <2 | <2 | 2
PFMBA | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFMPA | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFNA | ng/L | 533 | 6 | 10 | <2 | <2 | <2 | <2 | <2 | <2 | 4 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFOA | ng/L | 533 | 8 | 4 | <2 | 6 | 3 | 4 | 8 | <2 | 3 | 10 | 19 | 15 | 2 | <2 | 4 | <2 | <2 | <2 | <2 | <2 | 4 | 10 | <2 | 2 | <2 | <2
PFOS | ng/L | 533 | 16 | 4 | <2 | 2 | <2 | <2 | <2 | <2 | 18 | 5 | 3 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFPeA | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | 4 | <2 | <2 | 3 | 4 | 3 | 6 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | <2 | <2 | <2 | <2
PFPeS | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFUnA | ng/L | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
Grey indicates contaminant was detected.
Yellow indicates contaminant exceeds Michigan Drinking Water Criteria.
“NA” means a criterion or value is not available
Note that samples 2412230-01 and 2412231-01 are field blanks
[1] | Maximum Contaminant Level (MCL) is the maximum amount of a contaminant allowed in drinking water. Applies only to public drinking water supplies covered under the Michigan Safe Drinking Water Act. Private residential wells are not regulated under the Michigan Safe Drinking Water Act, but Michigan uses the MCLs along with other factors when evaluating private residential well results.
[2] | Compliance with MCLs is determined by running annual averages at the sampling point.

## M-Part 4
Michigan Department of Environmental Quality Analytical Testing Report
Report Date: | 2025-02-21 16:56
Client: | EGLE-RRD-LANSING
Attention: | Mike Jury
Project Name: | MPART-CADILLAC INDUSTRIAL PARK
|  |  |  | Address 1 | Address 2 | Address 3 | Address 4 | Address 5 | Address 6 | Address 7 | Address 8 | Address 9 | Address 10 | Address 11 | Address 12
Sample Number |  |  | Drinking Water Criteria (DWC) | 2502070-02 | 2502070-03 | 2502070-04 | 2502070-05 | 2502070-06 | 2502070-07 | 2502070-08 | 2502070-09 | 2502070-10 | 2502070-11 | 2502070-12 | 2502070-13
Sample ID |  |  |  | WT2502070925ZR | WS2502070940ZR | WT2502071000ZR | WT2502071010ZR | WS2502071020ZR | WT2502071115ZR | WT2502071125ZR | WT2502071130ZR | WT2502071200ZR | WR2502071335ZR | WT2502071350ZR | WT2502071400ZR
Sample Depth
Date Collected |  |  |  | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07
Date Received |  |  |  | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10
Analyte | Units | Method
11Cl-PF3OUdS | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
4:2FTS | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
6:2FTS | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
8:2FTS | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
9Cl-PF3ONS | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
ADONA | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
HFPO-DA | ng/L | 533 | 370 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
NFDHA | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFBA | ng/L | 533 | NA | 5 | <2 | <2 | 4 | 5 | 3 | 5 | 2 | 4 | 4 | <2 | <2
PFBS | ng/L | 533 | 420 | 6 | <2 | <2 | 5 | 47 | 15 | 5 | 3 | 8 | 13 | <2 | <2
PFDA | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFDoA | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFEESA | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHpA | ng/L | 533 | NA | <2 | <2 | <2 | <2 | 7 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHpS | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHxA | ng/L | 533 | 400000 | 2 | <2 | <2 | 2 | 22 | <2 | 3 | 3 | 3 | 6 | <2 | <2
PFHxS | ng/L | 533 | 51 | 4 | <2 | <2 | 9 | 340 | 3 | 2 | <2 | 2 | <2 | <2 | <2
PFMBA | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFMPA | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFNA | ng/L | 533 | 6 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFOA | ng/L | 533 | 8 | 3 | <2 | <2 | 2 | 10 | 4 | <2 | <2 | 4 | <2 | <2 | <2
PFOS | ng/L | 533 | 16 | 2 | <2 | <2 | <2 | 2 | 6 | <2 | <2 | 6 | <2 | <2 | <2
PFPeA | ng/L | 533 | NA | 3 | <2 | <2 | <2 | 6 | <2 | 3 | 3 | 4 | 6 | <2 | <2
PFPeS | ng/L | 533 | NA | <2 | <2 | <2 | <2 | 100 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFUnA | ng/L | 533 | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
Grey indicates contaminant was detected.
Yellow indicates contaminant exceeds Michigan Drinking Water Criteria
“NA” means a criterion or value is not available
Note that sample 2502070-01 is a field blank

## M Part results only
Sample Number |  |  | Michigan Safe Drinking Water Act MCL[1] and Groundwater Cleanup Std | National Primary Drinking Water Regulation MCL[2] | 2410342-02 | 2410342-03 | 2410342-04 | 2410342-05 | 2410342-06 | 2410342-07 | 2410342-08 | 2410342-09 | 2410342-10 | 2410342-11 | 2410342-12 | 2410342-13 | 2410342-14 | 2411220-02 | 2411220-03 | 2411220-04 | 2411220-05 | 2411220-06 | 2411220-07 | 2411220-08 | 2411220-09 | 2411220-10 | 2411220-11 | 2411220-12 | 2411220-13 | 2411220-14 | 2411220-15 | 2411220-16 | 2411220-17 | 2411220-18 | 2411220-19 | 2411220-20 | 2411219-02 | 2412230-02 | 2412230-03 | 2412230-04 | 2412230-05 | 2412230-06 | 2412230-07 | 2412230-08 | 2412230-09 | 2412230-10 | 2412230-11 | 2412230-12 | 2412230-13 | 2412230-14 | 2412230-15 | 2412230-16 | 2412230-17 | 2412230-18 | 2412230-19 | 2412231-02 | 2412231-03 | 2412231-04 | 2412231-05 | 2412231-06 | 2412231-07 | 2502070-02 | 2502070-03 | 2502070-04 | 2502070-05 | 2502070-06 | 2502070-07 | 2502070-08 | 2502070-09 | 2502070-10 | 2502070-11 | 2502070-12 | 2502070-13
Sample ID |  |  |  |  | WT2410301004GSC | WT2410301115GSC | WT2410301145GSC | WT2410301210GSC | WT2410301240GSC | WT2410301310GSC | WT2410301335GSC | WT2410301525GSC | WT2410301635GSC | WT2410301645GSC | WT2410301700GSC | WT2410301715GSC | WT2410301730GSC | WT202411201000TLM | WT202411201010TLM | WT202411201020TLM | WT202411201025TLM | WT202411201030TLM | WT202411201035TLM | WT202411201055TLM | WT202411201100TLM | WT202411201125TLM | WT202411201135TLM | WR202411201225TLM | WR202411201240TLM | WT202411201250TLM | WR202411201255TLM | WT202411201310TLM | WT202411201325TLM | WT202411201410TLM | WT202411201425TLM | WT202411201435TLM | WS202411201510TLM | WT2412180930TLM | WR2412180955TLM | WT2412181000TLM | WT2412181015TLM | WT2412181030TLM | WT2412181040TLM | WT2412181100TLM | WR2412181110TLM | WT2412181120TLM | WT2412181130TLM | WT2412181140TLM | WT2412181135TLM | WR2412181300TLM | WT2412181315TLM | WR2412181410TLM | WR2412181440TLM | WR2412181520TLM | WT2412181540TLM | WR2412190945TLM | WR2412191030TLM | WT2412191045TLM | WT2412191105TLM | WT2412191130TLM | WR2412191255TLM | WT2502070925ZR | WS2502070940ZR | WT2502071000ZR | WT2502071010ZR | WS2502071020ZR | WT2502071115ZR | WT2502071125ZR | WT2502071130ZR | WT2502071200ZR | WR2502071335ZR | WT2502071350ZR | WT2502071400ZR | TBA
Sample Depth
Date Collected |  |  |  |  | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-10-30 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-11-20 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-18 | 2024-12-19 | 2024-12-19 | 2024-12-19 | 2024-12-19 | 2024-12-19 | 2024-12-19 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07 | 2025-02-07
Date Received |  |  |  |  | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-10-31 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-11-22 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2024-12-20 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10 | 2025-02-10
Analyte | Units | Method
HFPO-DA | ppt | 533 | 370 | 10 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFBA | ppt | 533 | NA | NA | 5 | 3 | 2 | <2 | <2 | 4 | 2 | <2 | <2 | 3 | <2 | 2 | 4 | 4 | 2 | 2 | 4 | <2 | 2 | <2 | 4 | <2 | <2 | 3 | 7 | 2 | 5 | 4 | 4 | 2 | 6 | 2 | 2 | <2 | <2 | <2 | 2 | 3 | 5 | 4 | 5 | 7 | 5 | 6 | 2 | 2 | <2 | <2 | <2 | <2 | <2 | 4 | 4 | 4 | 3 | <2 | <2 | 5 | <2 | <2 | 4 | 5 | 3 | 5 | 2 | 4 | 4 | <2 | <2 | <2
PFBS | ppt | 533 | 420 | NA | 11 | 2 | 6 | <2 | <2 | 2 | 7 | 2 | <2 | 2 | <2 | 9 | 6 | 4 | 3 | <2 | 30 | 2 | 2 | <2 | 3 | <2 | 10 | <2 | 6 | 7 | 8 | 2 | 8 | 3 | 17 | <2 | 2 | <2 | 2 | 4 | <2 | 5 | 8 | 20 | 7 | 45 | 15 | 13 | <2 | 2 | <2 | <2 | <2 | <2 | 31 | 15 | 4 | 5 | 4 | <2 | <2 | 6 | <2 | <2 | 5 | 47 | 15 | 5 | 3 | 8 | 13 | <2 | <2 | <2
PFHpA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | 3 | <2 | <2 | <2 | <2 | <2 | <2 | 3 | 2 | <2 | 2 | 4 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | <2 | <2 | <2 | <2 | 2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | 3 | 2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | 3 | 2 | 2 | <2 | <2 | <2 | <2 | <2 | <2 | 7 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHxA | ppt | 533 | 400000 | NA | <2 | 2 | 3 | 4 | <2 | 5 | <2 | <2 | <2 | <2 | <2 | 4 | 6 | 3 | <2 | 3 | 16 | 2 | <2 | <2 | <2 | <2 | <2 | <2 | 5 | <2 | 2 | <2 | 2 | 4 | 6 | 2 | <2 | <2 | 2 | <2 | <2 | 4 | <2 | <2 | 3 | 5 | 6 | 5 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | 3 | 2 | 2 | <2 | <2 | 2 | <2 | <2 | 2 | 22 | <2 | 3 | 3 | 3 | 6 | <2 | <2 | <2
PFHxS | ppt | 533 | 51 | 10 | 4 | 3 | 2 | <2 | <2 | 2 | 2 | <2 | <2 | 2 | <2 | 3 | 17 | 6 | 3 | 3 | 190 | <2 | 2 | <2 | <2 | <2 | <2 | <2 | 17 | 4 | 2 | <2 | 3 | 2 | 3 | 2 | 2 | <2 | 3 | 2 | 2 | 3 | 3 | <2 | 5 | 16 | 12 | 3 | <2 | 2 | <2 | <2 | <2 | <2 | <2 | 2 | 3 | 2 | <2 | <2 | 2 | 4 | <2 | <2 | 9 | 340 | 3 | 2 | <2 | 2 | <2 | <2 | <2 | <2
PFNA | ppt | 533 | 6 | 10 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 4 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFOA | ppt | 533 | 8 | 4 | 4 | 5 | 4 | 6 | <2 | 12 | 2 | 2 | <2 | 2 | 3 | 7 | 13 | 16 | 2 | 6 | 6 | 5 | <2 | <2 | 3 | <2 | 3 | 4 | 8 | 3 | 4 | 5 | 4 | 4 | 6 | 3 | 4 | <2 | 6 | 3 | 4 | 8 | <2 | 3 | 10 | 19 | 15 | 2 | <2 | 4 | <2 | <2 | <2 | <2 | <2 | 4 | 10 | <2 | 2 | <2 | <2 | 3 | <2 | <2 | 2 | 10 | 4 | <2 | <2 | 4 | <2 | <2 | <2 | <2
PFOS | ppt | 533 | 16 | 4 | <2 | 3 | <2 | 6 | <2 | <2 | <2 | <2 | <2 | 2 | <2 | <2 | <2 | 11 | <2 | <2 | 2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 13 | <2 | 6 | 2 | 2 | <2 | 2 | <2 | 2 | <2 | 2 | <2 | <2 | <2 | <2 | 18 | 5 | 3 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | <2 | <2 | <2 | 2 | 6 | <2 | <2 | 6 | <2 | <2 | <2 | <2
PFPeA | ppt | 533 | NA | NA | <2 | <2 | 3 | 4 | <2 | 3 | <2 | <2 | <2 | <2 | <2 | 3 | 2 | 4 | <2 | 2 | 5 | 2 | <2 | <2 | <2 | <2 | <2 | 3 | 4 | <2 | 3 | <2 | 2 | 3 | 4 | 2 | <2 | <2 | <2 | <2 | <2 | 4 | <2 | <2 | 3 | 4 | 3 | 6 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | <2 | <2 | <2 | <2 | 3 | <2 | <2 | <2 | 6 | <2 | 3 | 3 | 4 | 6 | <2 | <2 | <2
PFPeS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 49 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 100 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2
Exceeds Nat'l Primary Drinking Water MCL
Exceeds Nat'l Primary Drinking Water MCL and/or MI SDWA MCL
“NA” means a criterion or value is not available
|  |  | [1] | Maximum Contaminant Level (MCL) is the maximum amount of a contaminant allowed in drinking water. Applies only to public drinking water supplies covered under the Michigan Safe Drinking Water Act. Private residential wells are not regulated under the Michigan Safe Drinking Water Act, but Michigan uses the MCLs along with other factors when evaluating private residential well results.
|  |  | [2] | Compliance with MCLs is determined by running annual averages at the sampling point.

## Residences
[5 empty] | Address 1 | Address 2 | Address 3 | Address 4
Sample Number |  |  | Michigan Safe Drinking Water Act MCL[1] and Groundwater Cleanup Std | National Primary Drinking Water Regulation MCL[2]
Sample ID |  |  |  |  | Resident | Resident Dup
Sample Depth
Date Collected |  |  |  |  | 2024-09-30 | 2024-09-30
Date Analyzed |  |  |  |  | 2024-10-17 | 2024-10-17
Analyte | Units | Method
11Cl-PF3OUdS | ppt | 533 | NA | NA | <2 | <2
4:2FTS | ppt | 533 | NA | NA | <2 | <2
6:2FTS | ppt | 533 | NA | NA | <2 | <2
8:2FTS | ppt | 533 | NA | NA | <2 | <2
9Cl-PF3ONS | ppt | 533 | NA | NA | <2 | <2
ADONA | ppt | 533 | NA | NA | <2 | <2
HFPO-DA | ppt | 533 | 370 | 10 | <2 | <2
NFDHA | ppt | 533 | NA | NA | <2 | <2
PFBA | ppt | 533 | NA | NA | 11.3 | 11.7
PFBS | ppt | 533 | 420 | NA | 39.8 | 40.6
PFDA | ppt | 533 | NA | NA | <2 | <2
PFDoA | ppt | 533 | NA | NA | <2 | <2
PFEESA | ppt | 533 | NA | NA | <2 | <2
PFHpA | ppt | 533 | NA | NA | <2 | <2
PFHpS | ppt | 533 | NA | NA | <2 | <2
PFHxA | ppt | 533 | 400000 | NA | <2 | <2
PFHxS | ppt | 533 | 51 | 10 | <2 | <2
PFMBA | ppt | 533 | NA | NA | <2 | <2
PFMPA | ppt | 533 | NA | NA | <2 | <2
PFNA | ppt | 533 | 6 | 10 | <2 | <2
PFOA | ppt | 533 | 8 | 4 | <2 | 5
PFOS | ppt | 533 | 16 | 4 | 5.4 | 20.6
PFPeA | ppt | 533 | NA | NA | <2 | <2
PFPeS | ppt | 533 | NA | NA | <2 | <2
PFUnA | ppt | 533 | NA | NA | <2 | <2
Exceeds Nat'l Primary Drinking Water MCL
Exceeds Nat'l Primary Drinking Water MCL and/or MI SDWA MCL
“NA” means a criterion or value is not available
| [1] | Maximum Contaminant Level (MCL) is the maximum amount of a contaminant allowed in drinking water. Applies only to public drinking water supplies covered under the Michigan Safe Drinking Water Act. Private residential wells are not regulated under the Michigan Safe Drinking Water Act, but Michigan uses the MCLs along with other factors when evaluating private residential well results.
| [2] | Compliance with MCLs is determined by running annual averages at the sampling point.

## Monitoring Wells
Sample Number |  |  | Michigan Safe Drinking Water Act MCL[1] and Groundwater Cleanup Std | National Primary Drinking Water Regulation MCL[2]
Sample ID |  |  |  |  | SLW-10D | SLW-10S | M-1 | MW-1 | MW-1 | SLW-10D | SLW-10S
Sample Depth
Date Collected |  |  |  |  | 2022-10-19 | 2022-10-19 | 2022-10-19 | 2021-09-01 | 2021-09-01 | 2021-09-01 | 2021-09-01
Date Analyzed |  |  |  |  | 2022-10-27 | 2022-10-27 | 2022-10-27 | 2021-10-13 | 2021-10-13 | 2021-10-13 | 2021-10-13
Analyte | Units | Method
11Cl-PF3OUdS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
4:2FTS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
6:2FTS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
8:2FTS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
9Cl-PF3ONS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
ADONA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
HFPO-DA | ppt | 533 | 370 | 10 | <2 | <2 | <2 | <2 | <2 | <2 | <2
NFDHA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFBA | ppt | 533 | NA | NA | <2 | <2 | <2 | 3.12 | 2.9 | <2 | 3.09
PFBS | ppt | 533 | 420 | NA | <2 | <2 | 11 | 5.59 | 5.29 | 1.23 | 2.17
PFDA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFDoA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFEESA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHpA | ppt | 533 | NA | NA | <2 | <2 | 2.2 | 3.08 | 3.1 | <2 | <2
PFHpS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFHxA | ppt | 533 | 400000 | NA | <2 | <2 | <2 | 1.94 | 2.26 | <2 | 1.26
PFHxS | ppt | 533 | 51 | 10 | 6.4 | 2.7 | <2 | 1.47 | 1.51 | 1.24 | 6.43
PFMBA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFMPA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFNA | ppt | 533 | 6 | 10 | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFOA | ppt | 533 | 8 | 4 | <2 | 2.1 | 4.8 | 6.54 | 7.24 | 1.95 | 1.62
PFOS | ppt | 533 | 16 | 4 | <2 | <2 | <2 | <2 | <2 | 1.05 | <2
PFPeA | ppt | 533 | NA | NA | <2 | <2 | <2 | 1.77 | 1.72 | <2 | 1.18
PFPeS | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
PFUnA | ppt | 533 | NA | NA | <2 | <2 | <2 | <2 | <2 | <2 | <2
Exceeds Nat'l Primary Drinking Water MCL
Exceeds Nat'l Primary Drinking Water MCL and/or MI SDWA MCL
“NA” means a criterion or value is not available
| [1] | Maximum Contaminant Level (MCL) is the maximum amount of a contaminant allowed in drinking water. Applies only to public drinking water supplies covered under the Michigan Safe Drinking Water Act. Private residential wells are not regulated under the Michigan Safe Drinking Water Act, but Michigan uses the MCLs along with other factors when evaluating private residential well results.
| [2] | Compliance with MCLs is determined by running annual averages at the sampling point.

## Effluent
Client: | City of Cadillac-Utilities Department
Attention: | Jeff Dietlin
Project Name: | LDFA Special Investigation
Sample Number |  |  | Michigan Safe Drinking Water Act MCL[1] and Groundwater Cleanup Std | National Primary Drinking Water Regulation MCL[2] | Michigan Rule 57 Surface Water Quality Values[3] | 50382117002 | 50382117003 | 250204-01 | 50385014002 | 50385014003
Sample ID | [5 empty] | Plant Effluent | Plant Effluent Dup. | Plant Effluent | I-5 Effluent | I-5 Effluent Dup
Test Method | [5 empty] | 537.1(M) | 537.1(M) | 8327 | 537.1(M) | 537.1(M)
Date Collected | [5 empty] | 2024-09-10 | 2024-09-10 | 2025-02-04 | 2024-10-14 | 2024-10-14
Date Analyzed | [5 empty] | 2024-09-20 | 2024-09-20 | 2025-02-08 | 2024-10-24 | 2024-10-24
CAS# | Analyte | Units
763051-92-9 | 11Cl-PF3OUdS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
356-02-5 | 3:3FTCA | ppt | NA | NA | NA | NA | NA | <4.0 | NA | NA
757124-72-4 | 4:2FTS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
914637-49-3 | 5:3FTCA | ppt | NA | NA | NA | NA | NA | <2.0 | NA | NA
27619-97-2 | 6:2FTS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
812-70-4 | 7:3FTCA | ppt | NA | NA | NA | NA | NA | <2.0 | NA | NA
39108-34-4 | 8:2FTS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
756426-58-1 | 9Cl-PF3ONS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
919005-14-4 | ADONA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
13252-13-6 | HFPO-DA | ppt | 370 | 10 | NA | <2.0 | <2.0 | <4.0 | <2.0 | <2.0
2991-50-6 | NEtFOSAA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
2355-31-9 | NMeFOSAA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
375-22-4 | PFBA | ppt | NA | NA | NA | 3.1 | 3.3 | <4.0 | 3 | 3
375-73-5 | PFBS | ppt | 420 | NA | 670000 | 10.7 | 11.3 | 11 | <2.0 | <2.0
30334-69-1 | PFBSA | ppt | NA | NA | NA | NA | NA | 6.6 | NA | NA
335-76-2 | PFDA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
307-55-1 | PFDoDA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
335-77-3 | PFDS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
646-83-3 | PFECHS | ppt | NA | NA | NA | NA | NA | <2.0 | NA | NA
375-85-9 | PFHpA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
375-92-8 | PFHpS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
307-24-4 | PFHxA | ppt | 400000 | NA | NA | 3.2 | 3.3 | 3 | <2.0 | <2.0
355-46-4 | PFHxS | ppt | 51 | 10 | 210 | 4.4 | 4.6 | 4.2 | <2.0 | <2.0
41997-13-1 | PFHxSA | ppt | NA | NA | NA | NA | NA | NA | NA | NA
375-95-1 | PFNA | ppt | 6 | 10 | 30 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
68259-12-1 | PFNS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
335-67-1 | PFOA | ppt | 8 | 4 | 170 | 3.9 | 3.7 | 4.5 | <2.0 | <2.0
1763-23-1 | PFOS | ppt | 16 | 4 | 12 | 2.4 | 2.5 | 3.6 | <2.0 | <2.0
754-91-6 | PFOSA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
2706-90-3 | PFPeA | ppt | NA | NA | NA | 3.2 | 3.6 | 3 | <2.0 | <2.0
2706-91-4 | PFPeS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
376-06-7 | PFTeDA | ppt | NA | NA | NA | <2.0 | <2.0 | <4.0 | <2.0 | <2.0
72629-94-8 | PFTrDA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
2058-94-8 | PFUnDA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
Exceeds Nat'l Primary Drinking Water MCL
Exceeds Nat'l Primary Drinking Water MCL and/or MI SDWA MCL
“NA” means a criterion or value is not available
| [1] | Maximum Contaminant Level (MCL) is the maximum amount of a contaminant allowed in drinking water. Applies only to public drinking water supplies covered under the Michigan Safe Drinking Water Act. Private residential wells are not regulated under the Michigan Safe Drinking Water Act, but Michigan uses the MCLs along with other factors when evaluating private residential well results.
| [2] | Compliance with MCLs is determined by running annual averages at the sampling point.
| [3] | Michigan's Rule 57 Water Quality Values apply to NPDES discharges. If a waterbody is also used as a source for drinking water, water quality values are lower than those shown.

## Shallow wells
Client: | City of Cadillac-Utilities Department
Attention: | Jeff Dietlin
Project Name: | LDFA Special Investigation
Sample Number |  |  | Michigan Safe Drinking Water Act MCL[1] and Groundwater Cleanup Std | National Primary Drinking Water Regulation MCL[2] | Michigan Rule 57 Surface Water Quality Values[3] | 2411198-01 | 2411198-02 | 50385014004 | 50385014005 | 50385014006 | 50385014007 | 50385014008
Sample ID | [5 empty] | S-1 | S-2 | S-2 | S-3 | S-4 | S-5 | S-6
Test Method | [5 empty] | 8327 | 8327 | 537.1(M) | 537.1(M) | 537.1(M) | 537.1(M) | 537.1(M)
Date Collected | [5 empty] | 2024-11-18 | 2024-11-18 | 2024-10-14 | 2024-10-14 | 2024-10-14 | 2024-10-14 | 2024-10-14
Date Analyzed | [5 empty] | 2024-11-27 | 2024-11-27 | 2024-10-24 | 2024-10-24 | 2024-10-24 | 2024-10-24 | 2024-10-24
CAS# | Analyte | Units
763051-92-9 | 11Cl-PF3OUdS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
356-02-5 | 3:3FTCA | ppt | NA | NA | NA | <4.0 | <4.0 | NA | NA | NA | NA | NA
757124-72-4 | 4:2FTS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
914637-49-3 | 5:3FTCA | ppt | NA | NA | NA | <2.0 | <2.0 | NA | NA | NA | NA | NA
27619-97-2 | 6:2FTS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
812-70-4 | 7:3FTCA | ppt | NA | NA | NA | <2.0 | <2.0 | NA | NA | NA | NA | NA
39108-34-4 | 8:2FTS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
756426-58-1 | 9Cl-PF3ONS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
919005-14-4 | ADONA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
13252-13-6 | HFPO-DA | ppt | 370 | 10 | NA | <4.0 | <4.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
2991-50-6 | NEtFOSAA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
2355-31-9 | NMeFOSAA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
375-22-4 | PFBA | ppt | NA | NA | NA | <4.0 | 4.3 | 5.3 | 6.7 | 3.9 | 6.1 | 12.2
375-73-5 | PFBS | ppt | 420 | NA | 670000 | 5.7 | 47 | 48.7 | 38.8 | 11.7 | 33.1 | 24.5
30334-69-1 | PFBSA | ppt | NA | NA | NA | <2.0 | 12 | NA | NA | NA | NA | NA
335-76-2 | PFDA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
307-55-1 | PFDoDA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
335-77-3 | PFDS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
646-83-3 | PFECHS | ppt | NA | NA | NA | <2.0 | <2.0 | NA | NA | NA | NA | NA
375-85-9 | PFHpA | ppt | NA | NA | NA | <2.0 | 4.1 | 4.3 | <2.0 | <2.0 | <2.0 | <2.0
375-92-8 | PFHpS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
307-24-4 | PFHxA | ppt | 400000 | NA | NA | 2.4 | 3.7 | 3.8 | 3.4 | 3.2 | 3.1 | 3
355-46-4 | PFHxS | ppt | 51 | 10 | 210 | 3.4 | 3.5 | 4 | <2.0 | 4.8 | <2.0 | <2.0
41997-13-1 | PFHxSA | ppt | NA | NA | NA | <2.0 | <2.0 | NA | NA | NA | NA | NA
375-95-1 | PFNA | ppt | 6 | 10 | 30 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
68259-12-1 | PFNS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
335-67-1 | PFOA | ppt | 8 | 4 | 170 | 7.7 | 14 | 10.8 | 3.2 | 3.5 | 3.3 | 4.2
1763-23-1 | PFOS | ppt | 16 | 4 | 12 | <2.0 | <2.0 | <2.0 | 3.8 | 2.3 | 4.6 | 4.6
754-91-6 | PFOSA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
2706-90-3 | PFPeA | ppt | NA | NA | NA | 2.6 | 2.9 | 2.9 | 3.8 | 3.5 | 3.9 | 2.2
2706-91-4 | PFPeS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
376-06-7 | PFTeDA | ppt | NA | NA | NA | <4.0 | <4.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
72629-94-8 | PFTrDA | ppt | NA | NA | NA | <4.0 | <4.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
2058-94-8 | PFUnDA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
Exceeds Nat'l Primary Drinking Water MCL
Exceeds Nat'l Primary Drinking Water MCL and/or MI SDWA MCL
“NA” means a criterion or value is not available
[1] | Maximum Contaminant Level (MCL) is the maximum amount of a contaminant allowed in drinking water. Applies only to public drinking water supplies covered under the Michigan Safe Drinking Water Act. Private residential wells are not regulated under the Michigan Safe Drinking Water Act, but Michigan uses the MCLs along with other factors when evaluating private residential well results.
[2] | Compliance with MCLs is determined by running annual averages at the sampling point.
[3] | Michigan's Rule 57 Water Quality Values apply to NPDES discharges. If a waterbody is also used as a source for drinking water, water quality values are lower than those shown.

## Intermediate wells
MICHIGAN DEPARTMENT OF ENVIRONMENT, GREAT LAKES, AND ENERGY ENVIRONMENTAL LABORATORY
Report Date: | 2025-02-05 13:40
Client: | City of Cadillac-Utilities Department
Attention: | Jeff Dietlin
Project Name: | LDFA Special Investigation
Sample Number |  |  | Michigan Safe Drinking Water Act MCL[1] and Groundwater Cleanup Std | National Primary Drinking Water Regulation MCL[2] | Michigan Rule 57 Surface Water Quality Values[3] | 2501113-01 | 2501113-02 | 2501113-03 | 2501113-04 | 50385014001 | 2411198-03 | 2501113-05 | 2501113-06 | 2501113-07 | 2501113-08 | 2501113-09
Sample ID | [5 empty] | I-1 | I-2 | I-3 | I-4 | I-5 Influent | I-6 | I-7 | I-8 | I-9 | I-10 | I-11
Test Method | [5 empty] | 8327 | 8327 | 8327 | 8327 | 537.1(M) | 8327 | 8327 | 8327 | 8327 | 8327 | 8327
Date Collected | [5 empty] | 2025-01-27 | 2025-01-27 | 2025-01-27 | 2025-01-27 | 2024-10-14 | 2024-11-18 | 2025-01-27 | 2025-01-27 | 2025-01-27 | 2025-01-27 | 2025-01-27
Date Analyzed | [5 empty] | 2025-01-31 | 2025-01-31 | 2025-01-31 | 2025-02-01 | 2024-10-24 | 2024-11-27 | 2025-02-01 | 2025-02-01 | 2025-02-01 | 2025-02-01 | 2025-02-01
CAS# | Analyte | Units
763051-92-9 | 11Cl-PF3OUdS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
356-02-5 | 3:3FTCA | ppt | NA | NA | NA | <4.0 | <4.0 | <4.0 | <4.0 | NA | <4.0 | <4.0 | <4.0 | <4.0 | <4.0 | <4.0
757124-72-4 | 4:2FTS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
914637-49-3 | 5:3FTCA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
27619-97-2 | 6:2FTS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
812-70-4 | 7:3FTCA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
39108-34-4 | 8:2FTS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
756426-58-1 | 9Cl-PF3ONS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
919005-14-4 | ADONA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
13252-13-6 | HFPO-DA | ppt | 370 | 10 | NA | <4.0 | <4.0 | <4.0 | <4.0 | <2.0 | <4.0 | <4.0 | <4.0 | <4.0 | <4.0 | <4.0
2991-50-6 | NEtFOSAA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
2355-31-9 | NMeFOSAA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
375-22-4 | PFBA | ppt | NA | NA | NA | <4.0 | 4.3 | <4.0 | <4.0 | 4.5 | 4.1 | <4.0 | <4.0 | <4.0 | <4.0 | 5.2
375-73-5 | PFBS | ppt | 420 | NA | 670000 | 5.2 | 20 | <2.0 | 5.7 | 15.2 | 8.4 | 3.6 | 5.1 | 8.4 | 2.8 | 28
30334-69-1 | PFBSA | ppt | NA | NA | NA | 9.1 | 15 | <2.0 | 2.4 | NA | <2.0 | <2.0 | <2.0 | 2.7 | 2.8 | 17
335-76-2 | PFDA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
307-55-1 | PFDoDA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
335-77-3 | PFDS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
646-83-3 | PFECHS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
375-85-9 | PFHpA | ppt | NA | NA | NA | <2.0 | 2.8 | <2.0 | <2.0 | 2.4 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | 4.2
375-92-8 | PFHpS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
307-24-4 | PFHxA | ppt | 400000 | NA | NA | 2.3 | 5.7 | <2.0 | <2.0 | 4.6 | 2.7 | 2.3 | 2.3 | 2.3 | 2 | 6.4
355-46-4 | PFHxS | ppt | 51 | 10 | 210 | 4.3 | 2.8 | <2.0 | 5.1 | 6 | 5.9 | 3.4 | 2.9 | 7.7 | 16 | 5.3
41997-13-1 | PFHxSA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
375-95-1 | PFNA | ppt | 6 | 10 | 30 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
68259-12-1 | PFNS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
335-67-1 | PFOA | ppt | 8 | 4 | 170 | 4.3 | 6.1 | <2.0 | 2.5 | 5.9 | 3.5 | 3.5 | 2.6 | 2.8 | 4.5 | 12
1763-23-1 | PFOS | ppt | 16 | 4 | 12 | 2.2 | 4.2 | <2.0 | <2.0 | 2.4 | <2.0 | <2.0 | <2.0 | 2.3 | <2.0 | 6.7
754-91-6 | PFOSA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
2706-90-3 | PFPeA | ppt | NA | NA | NA | 2.6 | 6.3 | <2.0 | <2.0 | 4.4 | 2.7 | 2.1 | <2.0 | 3.2 | <2.0 | 7
2706-91-4 | PFPeS | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
376-06-7 | PFTeDA | ppt | NA | NA | NA | <4.0 | <4.0 | <4.0 | <4.0 | <2.0 | <4.0 | <4.0 | <4.0 | <4.0 | <4.0 | <4.0
72629-94-8 | PFTrDA | ppt | NA | NA | NA | <4.0 | <4.0 | <4.0 | <4.0 | <2.0 | <4.0 | <4.0 | <4.0 | <4.0 | <4.0 | <4.0
2058-94-8 | PFUnDA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
Exceeds Nat'l Primary Drinking Water MCL
Exceeds Nat'l Primary Drinking Water MCL and/or MI SDWA MCL
“NA” means a criterion or value is not available
|  |  | [1] | Maximum Contaminant Level (MCL) is the maximum amount of a contaminant allowed in drinking water. Applies only to public drinking water supplies covered under the Michigan Safe Drinking Water Act. Private residential wells are not regulated under the Michigan Safe Drinking Water Act, but Michigan uses the MCLs along with other factors when evaluating private residential well results.
|  |  | [2] | Compliance with MCLs is determined by running annual averages at the sampling point.
|  |  | [3] | Michigan's Rule 57 Water Quality Values apply to NPDES discharges. If a waterbody is also used as a source for drinking water, water quality values are lower than those shown.

## LDFA results only
Client: | City of Cadillac-Utilities Department
Attention: | Jeff Dietlin
Project Name: | LDFA Special Investigation
Sample Number |  |  | Michigan Safe Drinking Water Act MCL[1] and Groundwater Cleanup Std | National Primary Drinking Water Regulation MCL[2] | Michigan Rule 57 Surface Water Quality Values[3] | 50382117002 | 250204-01 | 2501113-01 | 2501113-02 | 2501113-03 | 2501113-04 | 50385014002 | 50374982002 | 50385014001 | 2411198-03 | 2501113-05 | 2501113-06 | 2501113-07 | 2501113-08 | 2501113-09 | 2411198-01 | 50385014004 | 2411198-02 | 50385014005 | 50385014006 | 50385014007 | 50385014008
Sample ID | [5 empty] | Plant Effluent | Plant Effluent | I-1 | I-2 | I-3 | I-4 | I-5 Effluent | I-5 Influent | I-5 Influent | I-6 | I-7 | I-8 | I-9 | I-10 | I-11 | S-1 | S-2 | S-2 | S-3 | S-4 | S-5 | S-6
Test Method | [5 empty] | 537.1(M) | 8327 | 8327 | 8327 | 8327 | 8327 | 537.1(M) | 537.1(M) | 537.1(M) | 8327 | 8327 | 8327 | 8327 | 8327 | 8327 | 8327 | 537.1(M) | 8327 | 537.1(M) | 537.1(M) | 537.1(M) | 537.1(M)
Date Collected | [5 empty] | 2024-09-10 | 2025-02-04 | 2025-01-27 | 2025-01-27 | 2025-01-27 | 2025-01-27 | 2024-10-14 | 2024-06-04 | 2024-10-14 | 2024-11-18 | 2025-01-27 | 2025-01-27 | 2025-01-27 | 2025-01-27 | 2025-01-27 | 2024-11-18 | 2024-10-14 | 2024-11-18 | 2024-10-14 | 2024-10-14 | 2024-10-14 | 2024-10-14
Date Analyzed | [5 empty] | 2024-09-20 | 2025-02-08 | 2025-01-31 | 2025-01-31 | 2025-01-31 | 2025-02-01 | 2024-10-24 | 2024-07-02 | 2024-10-24 | 2025-11-27 | 2025-02-01 | 2025-02-01 | 2025-02-01 | 2025-02-01 | 2025-02-01 | 2025-11-27 | 2024-10-24 | 2025-11-27 | 2024-10-24 | 2024-10-24 | 2024-10-24 | 2024-10-24
CAS# | Analyte | Units
13252-13-6 | HFPO-DA | ppt | 370 | 10 | NA | <2.0 | <4.0 | <4.0 | <4.0 | <4.0 | <4.0 | <2.0 | <2.0 | <2.0 | <4.0 | <4.0 | <4.0 | <4.0 | <4.0 | <4.0 | <4.0 | <2.0 | <4.0 | <2.0 | <2.0 | <2.0 | <2.0
375-22-4 | PFBA | ppt | NA | NA | NA | 3.1 | <4.0 | <4.0 | 4.3 | <4.0 | <4.0 | 3 | 4 | 4.5 | 4.1 | <4.0 | <4.0 | <4.0 | <4.0 | 5.2 | <4.0 | 5.3 | 4.3 | 6.7 | 3.9 | 6.1 | 12.2
375-73-5 | PFBS | ppt | 420 | NA | 670000 | 10.7 | 11 | 5.2 | 20 | <2.0 | 5.7 | <2.0 | 12.8 | 15.2 | 8.4 | 3.6 | 5.1 | 8.4 | 2.8 | 28 | 5.7 | 48.7 | 47 | 38.8 | 11.7 | 33.1 | 24.5
30334-69-1 | PFBSA | ppt | NA | NA | NA | NA | 6.6 | 9.1 | 15 | <2.0 | 2.4 | NA | NA | NA | <2.0 | <2.0 | <2.0 | 2.7 | 2.8 | 17 | <2.0 | NA | 12 | NA | NA | NA | NA
646-83-3 | PFECHS | ppt | NA | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | NA | NA | NA | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | NA | <2.0 | NA | NA | NA | NA
375-85-9 | PFHpA | ppt | NA | NA | NA | <2.0 | <2.0 | <2.0 | 2.8 | <2.0 | <2.0 | <2.0 | <2.0 | 2.4 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | 4.2 | <2.0 | 4.3 | 4.1 | <2.0 | <2.0 | <2.0 | <2.0
307-24-4 | PFHxA | ppt | 400000 | NA | NA | 3.2 | 3 | 2.3 | 5.7 | <2.0 | <2.0 | <2.0 | 4.1 | 4.6 | 2.7 | 2.3 | 2.3 | 2.3 | 2 | 6.4 | 2.4 | 3.8 | 3.7 | 3.4 | 3.2 | 3.1 | 3
355-46-4 | PFHxS | ppt | 51 | 10 | 210 | 4.4 | 4.2 | 4.3 | 2.8 | <2.0 | 5.1 | <2.0 | 5.2 | 6 | 5.9 | 3.4 | 2.9 | 7.7 | 16 | 5.3 | 3.4 | 4 | 3.5 | <2.0 | 4.8 | <2.0 | <2.0
375-95-1 | PFNA | ppt | 6 | 10 | 30 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
335-67-1 | PFOA | ppt | 8 | 4 | 170 | 3.9 | 4.5 | 4.3 | 6.1 | <2.0 | 2.5 | <2.0 | 5.5 | 5.9 | 3.5 | 3.5 | 2.6 | 2.8 | 4.5 | 12 | 7.7 | 10.8 | 14 | 3.2 | 3.5 | 3.3 | 4.2
1763-23-1 | PFOS | ppt | 16 | 4 | 12 | 2.4 | 3.6 | 2.2 | 4.2 | <2.0 | <2.0 | <2.0 | 2.4 | 2.4 | <2.0 | <2.0 | <2.0 | 2.3 | <2.0 | 6.7 | <2.0 | <2.0 | <2.0 | 3.8 | 2.3 | 4.6 | 4.6
2706-90-3 | PFPeA | ppt | NA | NA | NA | 3.2 | 3 | 2.6 | 6.3 | <2.0 | <2.0 | <2.0 | 3.5 | 4.4 | 2.7 | 2.1 | <2.0 | 3.2 | <2.0 | 7 | 2.6 | 2.9 | 2.9 | 3.8 | 3.5 | 3.9 | 2.2
Exceeds Nat'l Primary Drinking Water MCL
Exceeds Nat'l Primary Drinking Water MCL and/or MI SDWA MCL
“NA” means a criterion or value is not available
|  |  | [1] | Maximum Contaminant Level (MCL) is the maximum amount of a contaminant allowed in drinking water. Applies only to public drinking water supplies covered under the Michigan Safe Drinking Water Act. Private residential wells are not regulated under the Michigan Safe Drinking Water Act, but Michigan uses the MCLs along with other factors when evaluating private residential well results.
|  |  | [2] | Compliance with MCLs is determined by running annual averages at the sampling point.
|  |  | [3] | Michigan's Rule 57 Water Quality Values apply to NPDES discharges. If a waterbody is also used as a source for drinking water, water quality values are lower than those shown.